## Mapping
Old HC stcd (legacy) | Proposal 1 (5-digit, col B + 4 new) | Proposal 2 (inside MC scheme) | Logical node | HC subgroup (proposal 2) | Description | Note
10500 | 11001 | 9500 | WTUR | HC Control System | Incorrect monit.function parameter
10550 | 11002 | 9501 | WTUR | HC Control System | Pitch back reboot HC
7001 | 11003 | 9502 | WTUR | HC Control System | Task runtime failure 1ms
7002 | 11004 | 9503 | WTUR | HC Control System | Task runtime failure 5ms
7003 | 11005 | 9504 | WTUR | HC Control System | Task runtime failure 10 ms
7005 | 11006 | 9505 | WTUR | HC Control System | Division by zero
7008 | 11007 | 9506 | WTUR | HC Control System | Reboot necessary after update
7009 | 11008 | 9507 | WTUR | HC Control System | Unexpected reboot
7010 | 11009 | 9508 | WTUR | HC Control System | Parameter unreadable
7011 | 11010 | 9509 | WTUR | HC Control System | Loading parameters
7012 | 11011 | 9510 | WTUR | HC Control System | Manual snapshot
7014 | 11012 | 9511 | WTUR | HC Control System | Cond. snapshot
7016 | 11013 | 9512 | WTUR | HC Control System | Parameter outside limits
7017 | 11014 | 9513 | WTUR | HC Control System | Parameter outside limits stop
7018 | 11015 | 9514 | WTUR | HC Control System | Parameter update active
7025 | 11016 | 9515 | WTUR | HC Control System | Configuration error
7026 | 11017 | 9516 | WTUR | HC Control System | License error
7027 | 11018 | 9517 | WTUR | HC Control System | Runtime error
7028 | 11019 | 9518 | WTUR | HC Control System | Software exception error
7029 | 11020 | 9519 | WTUR | HC Control System | File transfer error
7190 | 11021 | 9520 | WTUR | HC Control System | 10ms task runtime high
7191 | 11022 | 9521 | WTUR | HC Control System | Error variable initiation
7250 | 11023 | 9522 | WTUR | HC Control System | HC/WTC comm. version conflict
7324 | 11024 | 9523 | WTUR | HC Control System | Check time synchronization
7325 | 11025 | 9524 | WTUR | HC Control System | Time sync. failed (SNTP error)
7335 | 11026 | 9525 | WTUR | HC Control System | mconfig.ini check failed
7400 | 11027 | 9526 | WTUR | HC Control System | High CPU temperature
7401 | 11028 | 9527 | WTUR | HC Control System | Max. temperature CPU
7402 | 11029 | 9528 | WTUR | HC Control System | CPU Failure RTC
7403 | 11030 | 9529 | WTUR | HC Control System | CPU NVRAM battery
7404 | 11031 | 9530 | WTUR | HC Control System | CPU memory error
7415 | 11032 | 9531 | WTUR | HC Control System | PLC hardware error
7420 | 11033 | 9532 | WTUR | HC Control System | CAN bus error
7421 | 11034 | 9533 | WTUR | HC Control System | CAN bus module firmware
7610 | 11035 | 9534 | WTUR | HC Control System | Firmware update required
7611 | 11036 | 9535 | WTUR | HC Control System | Firmware update failed
11500 | 11101 | 9600 | WTUR | HC Field Bus | Pitch back comm. WTG
11811 | 11102 | 9601 | WTUR | HC Field Bus | Comm. failure B encoder 1
11812 | 11103 | 9602 | WTUR | HC Field Bus | Comm. failure B encoder 2
11813 | 11104 | 9603 | WTUR | HC Field Bus | Comm. failure B encoder 3
11851 | 11105 | 9604 | WTUR | HC Field Bus | Comm. failure pitch conv. 1
11852 | 11106 | 9605 | WTUR | HC Field Bus | Comm. failure pitch conv. 2
11853 | 11107 | 9606 | WTUR | HC Field Bus | Comm. failure pitch conv. 3
11860 | 11108 | 9607 | WTUR | HC Field Bus | Failure comm. blade load sensors
0 | 11151 | 9650 | WTUR | HC System | System OK
250 | 11152 | 9651 | WTUR | HC System | Update active
251 | 11153 | 9652 | WTUR | HC System | Stop for man./aut. reboot
252 | 11154 | 9653 | WTUR | HC System | Update failed
253 | 11155 | 9654 | WTUR | HC System | Manual reboot
254 | 11156 | 9655 | WTUR | HC System | Man. shutdown error
402 | 11157 | 9656 | WTUR | HC System | Semi-automatic operation
13511 | 12001 | 4500 | WROT | HC Blades | Sim.ang. D enc. <> act.ang. A enc. 1
13512 | 12002 | 4501 | WROT | HC Blades | Sim.ang. D enc. <> act.ang. A enc. 2
13513 | 12003 | 4502 | WROT | HC Blades | Sim.ang. D enc. <> act.ang. A enc. 3
13521 | 12004 | 4503 | WROT | HC Blades | Sim.ang. D enc. <> act.ang. B enc. 1
13522 | 12005 | 4504 | WROT | HC Blades | 13522 Sim.ang. D enc. <> act.ang. B enc. 2
13523 | 12006 | 4505 | WROT | HC Blades | Sim.ang. D enc. <> act.ang. B enc. 3
13550 | 12007 | 4506 | WROT | HC Blades | B encoder set active
13801 | 12008 | 4507 | WROT | HC Blades | Error hardware bl.bear. lubr. pump 1
13802 | 12009 | 4508 | WROT | HC Blades | Error hardware bl.bear. lubr. pump 2
13803 | 12010 | 4509 | WROT | HC Blades | Error hardware bl.bear. lubr. pump 3
13805 | 12011 | 4510 | WROT | HC Blades | Man. op. blade bearing lubrication
13809 | 12012 | 4511 | WROT | HC Blades | Timeout blade bear.lubr. Failure
13811 | 12013 | 4512 | WROT | HC Blades | Max. runtime blade bearing lubr. pump 1
13812 | 12014 | 4513 | WROT | HC Blades | Max. runtime blade bearing lubr. pump 2
13813 | 12015 | 4514 | WROT | HC Blades | Max. runtime blade bearing lubr. pump 3
13821 | 12016 | 4515 | WROT | HC Blades | Max. time press. build-up bl.bear. lubr. pump 1
13822 | 12017 | 4516 | WROT | HC Blades | Max. time press. build-up bl.bear. lubr. pump 2
13823 | 12018 | 4517 | WROT | HC Blades | Max. time press. build-up bl.bear. lubr. pump 3
13831 | 12019 | 4518 | WROT | HC Blades | Max. time press. red. bl.bear. lubr. pump 1
13832 | 12020 | 4519 | WROT | HC Blades | Max. time press. red. bl.bear. lubr. pump 2
13833 | 12021 | 4520 | WROT | HC Blades | Max. time press. red. bl.bear. lubr. pump 3
13901 | 12022 | 4521 | WROT | HC Blades | Vane pos. lim. switch 91° bl. 1
13902 | 12023 | 4522 | WROT | HC Blades | Vane pos. lim. switch 91° bl. 2
13903 | 12024 | 4523 | WROT | HC Blades | Vane pos. lim. switch 91° bl. 3
13910 | 12025 | 4524 | WROT | HC Blades | Fault bypass limit switch
12071 | 12051 | 4550 | WROT | HC Batteries | Maintenance switch battery 1
12072 | 12052 | 4551 | WROT | HC Batteries | Maintenance switch battery 2
12073 | 12053 | 4552 | WROT | HC Batteries | Maintenance switch battery 3
12081 | 12054 | 4553 | WROT | HC Batteries | Connection open battery 1
12082 | 12055 | 4554 | WROT | HC Batteries | Connection open battery 2
12083 | 12056 | 4555 | WROT | HC Batteries | Connection open battery 3
12101 | 12057 | 4556 | WROT | HC Batteries | Undervoltage battery 1
12102 | 12058 | 4557 | WROT | HC Batteries | Undervoltage battery 2
12103 | 12059 | 4558 | WROT | HC Batteries | Undervoltage battery 3
12111 | 12060 | 4559 | WROT | HC Batteries | Overvoltage battery 1
12112 | 12061 | 4560 | WROT | HC Batteries | Overvoltage battery 2
12113 | 12062 | 4561 | WROT | HC Batteries | Overvoltage battery 3
12161 | 12063 | 4562 | WROT | HC Batteries | Meas. undervoltage battery 1
12162 | 12064 | 4563 | WROT | HC Batteries | Meas. undervoltage battery 2
12163 | 12065 | 4564 | WROT | HC Batteries | Meas. undervoltage battery 3
12171 | 12066 | 4565 | WROT | HC Batteries | Meas. overvoltage battery 1
12172 | 12067 | 4566 | WROT | HC Batteries | Meas. overvoltage battery 2
12173 | 12068 | 4567 | WROT | HC Batteries | Meas. overvoltage battery 3
12201 | 12069 | 4568 | WROT | HC Batteries | High temperature battery 1
12202 | 12070 | 4569 | WROT | HC Batteries | High temperature battery 2
12203 | 12071 | 4570 | WROT | HC Batteries | High temperature battery 3
12211 | 12072 | 4571 | WROT | HC Batteries | Low temperature battery 1
12212 | 12073 | 4572 | WROT | HC Batteries | Low temperature battery 2
12213 | 12074 | 4573 | WROT | HC Batteries | Low temperature battery 3
12221 | 12075 | 4574 | WROT | HC Batteries | High temperature battery box 1
12222 | 12076 | 4575 | WROT | HC Batteries | High temperature battery box 2
12223 | 12077 | 4576 | WROT | HC Batteries | High temperature battery box 3
12231 | 12078 | 4577 | WROT | HC Batteries | Low temperature battery box 1
12232 | 12079 | 4578 | WROT | HC Batteries | Low temperature battery box 2
12233 | 12080 | 4579 | WROT | HC Batteries | Low temperature battery box 3
12241 | 12081 | 4580 | WROT | HC Batteries | High temp. abort charg. batt. 1
12242 | 12082 | 4581 | WROT | HC Batteries | High temp. abort charg. batt. 2
12243 | 12083 | 4582 | WROT | HC Batteries | High temp. abort charg. batt. 3
12250 | 12084 | 4583 | WROT | HC Batteries | Batt.box warm-up
12251 | 12085 | 4584 | WROT | HC Batteries | Low temp. abort charg. batt. 1
12252 | 12086 | 4585 | WROT | HC Batteries | Low temp. abort charg. batt. 2
12253 | 12087 | 4586 | WROT | HC Batteries | Low temp. abort charg. batt. 3
12255 | 12088 | 4587 | WROT | HC Batteries | Batt.box temp. analysis
12260 | 12089 | 4588 | WROT | HC Batteries | Batt.box warm-up error
12261 | 12090 | 4589 | WROT | HC Batteries | High temp. pause charge 1
12262 | 12091 | 4590 | WROT | HC Batteries | High temp. pause charge 2
12263 | 12092 | 4591 | WROT | HC Batteries | High temp. pause charge 3
12301 | 12093 | 4592 | WROT | HC Batteries | Error meas. temp. of batt. 1
12302 | 12094 | 4593 | WROT | HC Batteries | Error meas. temp. of batt. 2
12303 | 12095 | 4594 | WROT | HC Batteries | Error meas. temp. of batt. 3
12321 | 12096 | 4595 | WROT | HC Batteries | Error meas.temp. of batt.box 1
12322 | 12097 | 4596 | WROT | HC Batteries | Error meas.temp. of batt.box 2
12323 | 12098 | 4597 | WROT | HC Batteries | Error meas.temp. of batt.box 3
12371 | 12099 | 4598 | WROT | HC Batteries | Charging circuit fault batt. 1
12372 | 12100 | 4599 | WROT | HC Batteries | Charging circuit fault batt. 2
12373 | 12101 | 4600 | WROT | HC Batteries | Charging circuit fault batt. 3
10202 | 12201 | 4650 | WROT | HC Pitch | Main box temp. high
10212 | 12202 | 4651 | WROT | HC Pitch | Main box temp. low
10250 | 12203 | 4652 | WROT | HC Pitch | Pitch back grid failure
10255 | 12204 | 4653 | WROT | HC Pitch | Rotor hub grid failure
10301 | 12205 | 4654 | WROT | HC Pitch | PT100 hub temp. defective
10302 | 12206 | 4655 | WROT | HC Pitch | PT100 main box defective
10311 | 12207 | 4656 | WROT | HC Pitch | Error meas. rotor hub temp.
10312 | 12208 | 4657 | WROT | HC Pitch | Error meas. temp. main box
10400 | 12209 | 4658 | WROT | HC Pitch | Pitch warning
10404 | 12210 | 4659 | WROT | HC Pitch | Fault pitch axis 1
10405 | 12211 | 4660 | WROT | HC Pitch | Fault pitch axis 2
10406 | 12212 | 4661 | WROT | HC Pitch | Fault pitch axis 3
10410 | 12213 | 4662 | WROT | HC Pitch | Overvoltage prot. Defective
10440 | 12214 | 4663 | WROT | HC Pitch | Fault pitch main box
10450 | 12215 | 4664 | WROT | HC Pitch | Hub service switch active
10455 | 12216 | 4665 | WROT | HC Pitch | Service unit connected
10460 | 12217 | 4666 | WROT | HC Pitch | Fault req. battery drive
10481 | 12218 | 4667 | WROT | HC Pitch | Fault act. batt.drive 1
10482 | 12219 | 4668 | WROT | HC Pitch | Fault act. batt.drive 2
10483 | 12220 | 4669 | WROT | HC Pitch | Fault act. batt.drive 3
13840 | 12221 | 4670 | WROT | HC Pitch | Hub fan error
13845 | 12222 | 4671 | WROT | HC Pitch | Hub fan manual mode
10000 | 12223 | 4672 | WROT | HC Pitch | Pitch back WTG
10010 | 12224 | 4673 | WROT | HC Pitch | Battery drive
10020 | 12225 | 4674 | WROT | HC Pitch | Pitch back trigger by WTG
10025 | 12226 | 4675 | WROT | HC Pitch | Battery drive trigger by WTG
10030 | 12227 | 4676 | WROT | HC Pitch | Assembly mode
10050 | 12228 | 4677 | WROT | HC Pitch | Repeated error
10060 | 12229 | 4678 | WROT | HC Pitch | Trigger snapshot by WTG
10065 | 12230 | 4679 | WROT | HC Pitch | Max. stop time SP40
10070 | 12231 | 4680 | WROT | HC Pitch | Max. stop time SP80
10075 | 12232 | 4681 | WROT | HC Pitch | SP40 speed error
10080 | 12233 | 4682 | WROT | HC Pitch | SP80 speed error
10085 | 12234 | 4683 | WROT | HC Pitch | Test stop program 40
10090 | 12235 | 4684 | WROT | HC Pitch | Test stop program 80
11110 | 12251 | 4700 | WROT | HC Pitch Control | Blade coll. setp. Implausible
11120 | 12252 | 4701 | WROT | HC Pitch Control | Max. blade indiv. angle setpoint rate
11130 | 12253 | 4702 | WROT | HC Pitch Control | Max. blade coll. angle setpoint rate
11140 | 12254 | 4703 | WROT | HC Pitch Control | Max. blade indiv. setp.angle dev.
11150 | 12255 | 4704 | WROT | HC Pitch Control | Max. setp.angle offset TFL
11155 | 12256 | 4705 | WROT | HC Pitch Control | Max. setp. offset DTC
11301 | 12257 | 4706 | WROT | HC Pitch Control | Incorrect pitch ramp parameter
11302 | 12258 | 4707 | WROT | HC Pitch Control | Incorrect controller parameter
11303 | 12259 | 4708 | WROT | HC Pitch Control | Incorr. pitch rate funct. param.
13201 | 12301 | 4750 | WROT | HC Pitch Drives | High temperature pt. mot. 1
13202 | 12302 | 4751 | WROT | HC Pitch Drives | High temperature pt. mot. 2
13203 | 12303 | 4752 | WROT | HC Pitch Drives | High temperature pt. mot. 3
13211 | 12304 | 4753 | WROT | HC Pitch Drives | Low temperature pitch motor 1
13212 | 12305 | 4754 | WROT | HC Pitch Drives | Low temperature pitch motor 2
13213 | 12306 | 4755 | WROT | HC Pitch Drives | Low temperature pitch motor 3
13221 | 12307 | 4756 | WROT | HC Pitch Drives | High temp.blade pitch gearb. 1
13222 | 12308 | 4757 | WROT | HC Pitch Drives | High temp.blade pitch gearb. 2
13223 | 12309 | 4758 | WROT | HC Pitch Drives | High temp.blade pitch gearb. 3
13231 | 12310 | 4759 | WROT | HC Pitch Drives | Low temp.blade pitch gearb. 1
13232 | 12311 | 4760 | WROT | HC Pitch Drives | Low temp.blade pitch gearb. 2
13233 | 12312 | 4761 | WROT | HC Pitch Drives | Low temp.blade pitch gearb. 3
13301 | 12313 | 4762 | WROT | HC Pitch Drives | Error meas. temp. of pt.mot. 1
13302 | 12314 | 4763 | WROT | HC Pitch Drives | Error meas. temp. of pt.mot. 2
13303 | 12315 | 4764 | WROT | HC Pitch Drives | Error meas. temp. of pt.mot. 3
13321 | 12316 | 4765 | WROT | HC Pitch Drives | Error meas.temp. of pt.gearb.1
13322 | 12317 | 4766 | WROT | HC Pitch Drives | Error meas.temp. of pt.gearb.2
13323 | 12318 | 4767 | WROT | HC Pitch Drives | Error meas.temp. of pt.gearb.3
13371 | 12319 | 4768 | WROT | HC Pitch Drives | 4-20mA curr.sensor pt. mot. 1
13372 | 12320 | 4769 | WROT | HC Pitch Drives | 4-20mA curr.sensor pt. mot. 2
13373 | 12321 | 4770 | WROT | HC Pitch Drives | 4-20mA curr.sensor pt. mot. 3
13421 | 12322 | 4771 | WROT | HC Pitch Drives | Error shunt current pt. mot. 1
13422 | 12323 | 4772 | WROT | HC Pitch Drives | Error shunt current pt. mot. 2
13423 | 12324 | 4773 | WROT | HC Pitch Drives | Error shunt current pt. mot. 3
13451 | 12325 | 4774 | WROT | HC Pitch Drives | Error bridging start resistor 1
13452 | 12326 | 4775 | WROT | HC Pitch Drives | Error bridging start resistor 2
13453 | 12327 | 4776 | WROT | HC Pitch Drives | Error bridging start resistor 3
13471 | 12328 | 4777 | WROT | HC Pitch Drives | Fuse external fan pt. mot. 1
13472 | 12329 | 4778 | WROT | HC Pitch Drives | Fuse external fan pt. mot. 2
13473 | 12330 | 4779 | WROT | HC Pitch Drives | Fuse external fan pt. mot. 3
13481 | 12331 | 4780 | WROT | HC Pitch Drives | Error pitch brake 1
13482 | 12332 | 4781 | WROT | HC Pitch Drives | Error pitch brake 2
13483 | 12333 | 4782 | WROT | HC Pitch Drives | Error pitch brake 3
12501 | 12401 | 4800 | WROT | HC Pitch Converter | No RFO pitch converter 1
12502 | 12402 | 4801 | WROT | HC Pitch Converter | No RFO pitch converter 2
12503 | 12403 | 4802 | WROT | HC Pitch Converter | No RFO pitch converter 3
12511 | 12404 | 4803 | WROT | HC Pitch Converter | No feedback pitch converter 1
12512 | 12405 | 4804 | WROT | HC Pitch Converter | No feedback pitch converter 2
12513 | 12406 | 4805 | WROT | HC Pitch Converter | No feedback pitch converter 3
12561 | 12407 | 4806 | WROT | HC Pitch Converter | Grid failure timeout pt.conv. 1
12562 | 12408 | 4807 | WROT | HC Pitch Converter | Grid failure timeout pt.conv. 2
12563 | 12409 | 4808 | WROT | HC Pitch Converter | Grid failure timeout pt.conv. 3
12621 | 12410 | 4809 | WROT | HC Pitch Converter | DC link volt. low pt. conv. 1
12622 | 12411 | 4810 | WROT | HC Pitch Converter | DC link volt. low pt. conv. 2
12623 | 12412 | 4811 | WROT | HC Pitch Converter | DC link volt. low pt. conv. 3
12701 | 12413 | 4812 | WROT | HC Pitch Converter | High temp. pitch converter 1
12702 | 12414 | 4813 | WROT | HC Pitch Converter | High temp. pitch converter 2
12703 | 12415 | 4814 | WROT | HC Pitch Converter | High temp. pitch converter 3
12711 | 12416 | 4815 | WROT | HC Pitch Converter | Low temp. pitch converter 1
12712 | 12417 | 4816 | WROT | HC Pitch Converter | Low temp. pitch converter 2
12713 | 12418 | 4817 | WROT | HC Pitch Converter | Low temp. pitch converter 3
12721 | 12419 | 4818 | WROT | HC Pitch Converter | High temp. pt. conv. box 1
12722 | 12420 | 4819 | WROT | HC Pitch Converter | High temp. pt. conv. box 2
12723 | 12421 | 4820 | WROT | HC Pitch Converter | High temp. pt. conv. box 3
12731 | 12422 | 4821 | WROT | HC Pitch Converter | Low temp. pt. conv. box 1
12732 | 12423 | 4822 | WROT | HC Pitch Converter | Low temp. pt. conv. box 2
12733 | 12424 | 4823 | WROT | HC Pitch Converter | Low temp. pt. conv. box 3
12801 | 12425 | 4824 | WROT | HC Pitch Converter | Error meas.temp. of pt.conv. 1
12802 | 12426 | 4825 | WROT | HC Pitch Converter | Error meas.temp. of pt.conv. 2
12803 | 12427 | 4826 | WROT | HC Pitch Converter | Error meas.temp. of pt.conv. 3
12821 | 12428 | 4827 | WROT | HC Pitch Converter | Err.meas.temp.of pt.conv.box1
12822 | 12429 | 4828 | WROT | HC Pitch Converter | Err.meas.temp.of pt.conv.box2
12823 | 12430 | 4829 | WROT | HC Pitch Converter | Err.meas.temp.of pt.conv.box3
12851 | 12431 | 4830 | WROT | HC Pitch Converter | Warning pitch converter 1
12852 | 12432 | 4831 | WROT | HC Pitch Converter | Warning pitch converter 2
12853 | 12433 | 4832 | WROT | HC Pitch Converter | Warning pitch converter 3
12861 | 12434 | 4833 | WROT | HC Pitch Converter | DC link diode faulty pt. conv. 1
12862 | 12435 | 4834 | WROT | HC Pitch Converter | DC link diode faulty pt. conv. 2
12863 | 12436 | 4835 | WROT | HC Pitch Converter | DC link diode faulty pt. conv. 3
12871 | 12437 | 4836 | WROT | HC Pitch Converter | DO short circuit pt. conv. 1
12872 | 12438 | 4837 | WROT | HC Pitch Converter | DO short circuit pt. conv. 2
12873 | 12439 | 4838 | WROT | HC Pitch Converter | DO short circuit pt. conv. 3
12881 | 12440 | 4839 | WROT | HC Pitch Converter | No RFO chopper pt. conv. 1
12882 | 12441 | 4840 | WROT | HC Pitch Converter | No RFO chopper pt. conv. 2
12883 | 12442 | 4841 | WROT | HC Pitch Converter | No RFO chopper pt. conv. 3
12891 | 12443 | 4842 | WROT | HC Pitch Converter | Chopper overload pt. conv. 1
12892 | 12444 | 4843 | WROT | HC Pitch Converter | Chopper overload pt. conv. 2
12893 | 12445 | 4844 | WROT | HC Pitch Converter | Chopper overload pt. conv. 3
14000 | 12501 | 4900 | WROT | HC Rotor | Rotor overspeed
14005 | 12502 | 4901 | WROT | HC Rotor | Rotor overspeed test
14025 | 12503 | 4902 | WROT | HC Rotor | Stop speed setpoint angle check
14030 | 12504 | 4903 | WROT | HC Rotor | Speed actual angle check
14035 | 12505 | 4904 | WROT | HC Rotor | Stop speed actual angle check
14040 | 12506 | 4905 | WROT | HC Rotor | Stop overspeed setpoint angle monitor
14060 | 12507 | 4906 | WROT | HC Rotor | Gearbox speed WTG <> rotor speed
14070 | 12508 | 4907 | WROT | HC Rotor | Error rotor speed detection
14301 | 12509 | 4908 | WROT | HC Rotor | Incorr. rotor speed calc. param.
14310 | 12510 | 4909 | WROT | HC Rotor | 4-20mA position encoder rotor position
14320 | 12511 | 4910 | WROT | HC Rotor | Rotor position implaus.
11160 | 12512 | 4911 | WROT | HC Rotor | Error blade coll. setp.angle rate at high speed setpoint
10110 | 12513 | 4912 | WROT | HC Rotor | SP additional braking speed limit
10115 | 12514 | 4913 | WROT | HC Rotor | SP additional braking trigger
14321 | 12515 | 4914 | WROT | HC Rotor | UCAP capacity low axis 1 | new since the 264-code export; proposal-1 number assigned in sequence
14322 | 12516 | 4915 | WROT | HC Rotor | UCAP capacity low axis 2 | new since the 264-code export; proposal-1 number assigned in sequence
14323 | 12517 | 4916 | WROT | HC Rotor | UCAP capacity low axis 3 | new since the 264-code export; proposal-1 number assigned in sequence
14324 | 12518 | 4917 | WROT | HC Rotor | Pitch system hardware mismatch | new since the 264-code export; proposal-1 number assigned in sequence

## Bands
Node | Existing MC group | HC subgroup | Proposed band | Slots | Codes | Spare | Source subgroup (HC export)
WTUR | WTUR 9000-9999 | HC Control System | 9500-9599 | 100 | 36 | 64 | Control System
WTUR | WTUR 9000-9999 | HC Field Bus | 9600-9649 | 50 | 8 | 42 | Field Bus
WTUR | WTUR 9000-9999 | HC System | 9650-9699 | 50 | 7 | 43 | System
WROT | WROT 4000-4999 | HC Blades | 4500-4549 | 50 | 25 | 25 | Blades
WROT | WROT 4000-4999 | HC Batteries | 4550-4649 | 100 | 51 | 49 | Batteries
WROT | WROT 4000-4999 | HC Pitch | 4650-4699 | 50 | 35 | 15 | Pitch
WROT | WROT 4000-4999 | HC Pitch Control | 4700-4749 | 50 | 9 | 41 | Pitch Control
WROT | WROT 4000-4999 | HC Pitch Drives | 4750-4799 | 50 | 33 | 17 | Pitch drives
WROT | WROT 4000-4999 | HC Pitch Converter | 4800-4899 | 100 | 45 | 55 | Pitch converter
WROT | WROT 4000-4999 | HC Rotor | 4900-4949 | 50 | 18 | 32 | Rotor

## Existing MC bands
Group | Subgroup | Range | Remark
WROT 4000-4999 | 040xx Rotor | 4000-4199 | first subgroup: 200 numbers
WROT 4000-4999 | 042xx Hot Air De-icing | 4200-4299
WROT 4000-4999 | 043xx Lighting | 4300-4399
WROT 4000-4999 | 044xx Blade Sensors | 4400-4499
WROT 4000-4999 | HC bands (proposal 2) | 4500-4949 | 7 HC subgroups, 450 slots
WROT 4000-4999 | (free) | 4950-4999 | left for MC growth
WTUR 9000-9999 | 090xx System | 9000-9199 | first subgroup: 200 numbers
WTUR 9000-9999 | 092xx Control System | 9200-9299
WTUR 9000-9999 | 093xx Safety | 9300-9399
WTUR 9000-9999 | (free) | 9400-9499 | left for MC growth
WTUR 9000-9999 | HC bands (proposal 2) | 9500-9699 | 3 HC subgroups, 200 slots
WTUR 9000-9999 | (free) | 9700-9899 | left for MC growth
WTUR 9000-9999 | 099xx a-f | 9900-9999 | six ten-number sub-bands